## Supplies
SUPPLIES AND EQUIPMENT FOR COVID-19
EXTRACTED FROM WHO COVID-19 COMMODITIES LIST
Description | Specifications
COVERALL, cat III, hooded white, size M | COVERALL (Tyvek 800J), cat III, type 4/5/6, hooded, s.u.,
Medical mask for HCW | Fluid resistance at minimum 120 mmHg pressure based on ASTM F1862-07, ISO 22609, or equivalent Breathability: MIL–M-36945C, EN 14683 annex C. • Filtration efficiency: ASTM F2101, EN14683 annex B
Medical mask, patients, pediatric
Medical mask for patient and care taker
Examination gloves box of 100 | EU standard directive 93/42/EEC Class I, EN 455, • EU standard directive 89/686/EEC Category III, EN 374,
Gloves, examination, nitrile, powder-free, non-sterile. Cuff length preferably reach mid-forearm
Protective gowns | fluid penetration resistant: EN 13795 high performance, or AAMI PB70 level 3 performance or above
Protective goggle* | EU standard directive 86/686/EEC, EN 166/2002,
Face shield (if chosen over goggle) | EU standard directive 86/686/EEC, EN 166/2002,
Respirator (mask) | N95 FFP2, splash resistant, s.u., non-sterile
Scrubs set* | Tunic/tops, woven, scrubs, reusable or single use, short sleeved (tunic/tops), worn underneath the coveralls or gown.
Heavy duty apron (reusable)* | polyester, reusable, 300g/m2, white, unit
Heavy duty Gloves (reusable)* | nitrile, green, cat III,
Tripple packaging* | 4G, class 6.2, w/ 1.5 l sec. container, unit
Viral transport medium* | Comply with the CLSI standard M40-A (for the Quality Control of Microbiology Specimen Transport Devices). Compatible with molecular and cell culture techniques
Sharp container (safety box) | needles/syringes, 5l, cardboard for incineration, puncture proof
Alcohol based hand rub 100ml | >65% Alcohol
Liquid soap (1 liter)
Biohazard bag 50 l 50microns | 50 l 50microns
Gum boots (pair)* | rubber, dark color (green or black), pair
Chlorine, HTH, 70% kg | NaDDC, 70 %, gran
Body Bags | 8 handles, U-shaped zip, white, 400 microns, adult, 230x100cm
Infrared Thermometers | Hand Held
Polyester/dacron nasal and nasopharyngeal swabs
RNA extraction kits
SARS CoV2 RT PCR kits
Pipette tips | P10,P20,P100-200,P1000
Microcentrifuge tubes | 1.5ml safety lock
Cryovial tubes
Specimen tube storage boxes

## Equipment
BASIC RECOMMENDED EQUIPMENT FOR COVID-19 CASE MANAGEMENT CENTRE
Description | Quantity | Unit cost | Total Cost
Oxygen concentrators | 2 | 3500 | 7000
Oxygen prongs, nasal, non-sterile, single use | 1000 | 0.45 | 450
Oxygen concentrator Flow splitter | 10 | 500 | 5000
Portable ventilator | 2 | 8000 | 16000
Oxygen tube, extension | 500 | 1.5 | 750
Pulse Oximeter | 10 | 200 | 2000
Laryngoscope | 2 | 1200 | 2400
Set of stainless steel depressors | 200 | 1 | 200
Endotracheal tube, without cuff | 200 | 1.2 | 240
Endotracheal tube, with cuff | 200 | 1.2 | 240
Carbon dioxide detector | 10 | 120 | 1200
Portable ultrasound scanner | 2 | 2000 | 4000
Compound Sodium Lactate Solution 1kg | 20 | 3 | 60
Resuscitator, adult | 50 | 10 | 500
Resuscitator, child | 50 | 10 | 500
Infusion giving set | 1000 | 0.2 | 200
Paracetamol 1000 bottle | 50 | 15 | 750
Airway, Guedel, sterile, single use (range of sizes) | 100 | 1.5 | 150
TOTAL |  |  | 41640